## Slide 1: INTENSITY – CONCENTRATION
ASLAN DEHGHANI

## Slide 2: Experiment Plan
 | Dilution | Reported Concentration | Average Intensity | Counted Concentration
Sample 1 | 25X | 8E11 |  | 
Sample 2 | 50X | 4E11 |  | 
Sample 3 | 100X | 2E11 |  | 
Sample 4 | 500X | 4E10 |  | 
Sample 5 | 1000X | 2E10 |  | 
Sample 6 | 2000X | E10 |  | 
Stock Concentration: 2E13

## Slide 3: Idea
Li et al, Nature, 2016

## Slide 4: Fluorescent Images
Sample 1 – 25X
Sample 2 – 50X
Sample 3 – 100X
Sample 4 – 500X
Sample 5 – 1000X
Sample 6 – 2000X

## Slide 5: Experiment Plan
 | Dilution | Reported Concentration | Average Intensity | Counted Concentration
Sample 1 | 25X | 8E11 | 8867.956042 | 
Sample 2 | 50X | 4E11 | 5289.628717 | 
Sample 3 | 100X | 2E11 | 3338.125 | 
Sample 4 | 500X | 4E10 | 826.15685 | 
Sample 5 | 1000X | 2E10 | 460.0510889 | 
Sample 6 | 2000X | E10 | 281.6682917 | 
Stock Concentration: 2E13

## Slide 6: INTENSITY – REPORTED CONCENTRATION
Chart: Intensity
| 8.921234722E9 | 5.321408806E9 | 3.36E9 | 8.31E8 | 4.63E8 | 2.83E8
 | 800000000000 | 400000000000 | 200000000000 | 40000000000 | 20000000000 | 10000000000
500X
2000X

## Slide 7: SEM Images – Sample 1 (25X)

## Slide 8: SEM Images – Sample 1 (50X)

## Slide 9: SEM Images – Sample 3 (100X)

## Slide 10: SEM Images – Sample 4 (500X)

## Slide 11: SEM Images – Sample 5 (1000X)

## Slide 12: SEM Images – Sample 6 (2000X)

## Slide 13: Intensity VS Reported Concentration
Chart: Intensity
| 3.36E9 | 8.31E8 | 4.63E8 | 2.83E8
 | 200000000000 | 40000000000 | 20000000000 | 10000000000
1000X
100X
500X
2000X

## Slide 14: Counted Concentration
Sample 3 – 100 X

## Slide 15: Counted Concentration
Sample 6 – 2000 X

## Slide 16: Experiment Plan
 | Dilution | Reported Concentration | Average Intensity | Counted Concentration
Sample 1 | 25X | 8E11 | 8867.956042 | 
Sample 2 | 50X | 4E11 | 5289.628717 | 
Sample 3 | 100X | 2E11 | 3338.125 | 84515445.82
Sample 4 | 500X | 4E10 | 826.15685 | 33356635.66
Sample 5 | 1000X | 2E10 | 460.0510889 | 16442860.07
Sample 6 | 2000X | E10 | 281.6682917 | 5866852.367
Stock Concentration: 2E13

## Slide 17: Intensity VS Counted Concentration
Chart: Intensity
| 3338.125 | 826.1568499999994 | 460.0510888888889 | 281.6682916666666
 | 84515445.822 | 33356635.6641 | 16442860.0655 | 5866852.3674
500X
2000X
1000X
50X

## Slide 18: Nano Scale Proof of Concept Experiments
Chart: Time (Minute)
| 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 33.0 | 34.0 | 35.0 | 36.0 | 37.0 | 38.0 | 39.0 | 40.0 | 41.0 | 42.0 | 43.0 | 44.0 | 45.0 | 46.0 | 47.0 | 48.0 | 49.0 | 50.0 | 51.0 | 52.0
 | 122.851 | 95.866 | 101.511 | 107.776 | 129.202 | 157.775 | 193.745 | 235.696 | 271.548 | 312.683 | 350.627 | 372.854 | 380.607 | 389.777 | 382.861 | 384.28 | 370.433 | 374.404 | 376.173 | 375.467 | 382.936 | 398.277 | 425.25 | 461.278 | 471.142 | 446.607 | 544.057 | 554.556 | 565.016 | 561.631 | 568.573 | 573.512 | 556.239 | 523.709 | 477.091 | 432.23 | 384.499 | 334.805 | 307.113 | 253.5 | 244.348 | 176.54 | 181.168 | 179.381 | 177.48 | 175.253 | 175.186 | 177.65 | 175.044 | 171.605
 | 123.901 | 97.287 | 128.023 | 188.374 | 286.62 | 377.009 | 466.9 | 525.111 | 589.419 | 615.003 | 693.072 | 747.89 | 793.101 | 807.816 | 829.611 | 809.807 | 777.917 | 795.543 | 776.313 | 728.29 | 749.451 | 802.837 | 847.681 | 904.793 | 939.843 | 837.008 | 959.913 | 1013.952 | 963.699 | 982.052 | 994.392 | 989.383 | 956.252 | 845.345 | 726.385 | 635.277 | 578.214 | 536.013 | 537.59 | 246.871 | 239.131 | 163.248 | 165.155 | 163.197 | 161.925 | 158.026 | 157.527 | 159.557 | 157.467 | 155.045
No transmembrane pressure applied
Transmembrane pressure applied

## Slide 19: Beads Concentration
 | Fluorescent Intensity | Number of beads
Background | 100 | 0
After Capturing | 1015 | 2.7E7
After Cleaning | 540 | 1.56E7
After Releasing | 165 | 6.57E6
 | Captured | Floating | Non-Specific
Fluorescent Intensity | 321 | 381 | 78
Number of beads | 1.27E7 | 1.42E7 | 6.89E6

## Slide 20: Subtracting Background
Chart: Time (Minute)
| 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 33.0 | 34.0 | 35.0 | 36.0 | 37.0 | 38.0 | 39.0 | 40.0 | 41.0 | 42.0 | 43.0 | 44.0 | 45.0 | 46.0 | 47.0 | 48.0 | 49.0 | 50.0 | 51.0 | 52.0
 | 122.851 | 95.866 | 101.511 | 107.776 | 129.202 | 157.775 | 193.745 | 235.696 | 271.548 | 312.683 | 350.627 | 372.854 | 380.607 | 389.777 | 382.861 | 384.28 | 370.433 | 374.404 | 376.173 | 375.467 | 382.936 | 398.277 | 425.25 | 461.278 | 471.142 | 446.607 | 544.057 | 554.556 | 565.016 | 561.631 | 568.573 | 573.512 | 556.239 | 523.709 | 477.091 | 432.23 | 384.499 | 334.805 | 307.113 | 253.5 | 244.348 | 176.54 | 181.168 | 179.381 | 177.48 | 175.253 | 175.186 | 177.65 | 175.044 | 171.605
 | 123.901 | 97.287 | 128.023 | 188.374 | 286.62 | 377.009 | 466.9 | 525.111 | 589.419 | 615.003 | 693.072 | 747.89 | 793.101 | 807.816 | 829.611 | 809.807 | 777.917 | 795.543 | 776.313 | 728.29 | 749.451 | 802.837 | 847.681 | 904.793 | 939.843 | 837.008 | 959.913 | 1013.952 | 963.699 | 982.052 | 994.392 | 989.383 | 956.252 | 845.345 | 726.385 | 635.277 | 578.214 | 536.013 | 537.59 | 246.871 | 239.131 | 163.248 | 165.155 | 163.197 | 161.925 | 158.026 | 157.527 | 159.557 | 157.467 | 155.045
 | With Background | With Background
Fluorescent Intensity | 321 | 182
Number of beads | 1.27E7 | 9.39E6
Porosity: 4E8/cm2
Number of pores in the interaction area: 1.6E7

## Slide 21: Another Experiment
Experiment 14 |  |  | 
 | Average Intensity in 10 X | Number of beads in 10X | Interaction area Concentration
Releasing or capturing | 45.272 | 2.47E+06 | 6.09E+06
Cleaning or floating | 101.864 | 3.05E+06 | 7.45E+06
Non Specific Absorption | 50.226 | 2.52E+06 | 6.21E+06
Total | 197.362 | 8.04E+06 | 1.98E+07
Chart: Time (minute)
| 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0 | 11.0 | 12.0 | 13.0 | 14.0 | 15.0 | 16.0 | 17.0 | 18.0 | 19.0 | 20.0 | 21.0 | 22.0 | 23.0 | 24.0 | 25.0 | 26.0 | 27.0 | 28.0 | 29.0 | 30.0 | 31.0 | 32.0 | 34.0 | 35.0 | 36.0 | 37.0
 | 158.408 | 172.022 | 164.709 | 179.605 | 189.679 | 194.915 | 195.682 | 246.005 | 251.922 | 344.686 | 433.389 | 464.816 | 467.919 | 534.565 | 541.55 | 551.038 | 520.644 | 459.339 | 467.778 | 471.357 | 461.124 | 406.131 | 402.287 | 382.309 | 374.02 | 339.321 | 314.368 | 325.432 | 307.894 | 309.202 | 320.592 | 346.187 | 320.098 | 188.689 | 167.602 | 163.001
 | 171.88 | 177.742 | 171.249 | 174.239 | 176.367 | 179.696 | 179.377 | 221.925 | 216.666 | 226.007 | 264.824 | 260.249 | 290.5 | 314.829 | 315.35 | 316.538 | 305.558 | 288.709 | 276.863 | 277.945 | 274.96 | 256.746 | 252.457 | 242.662 | 237.239 | 226.864 | 214.055 | 212.626 | 205.551 | 203.194 | 205.887 | 220.029 | 256.882 | 184.543 | 172.814 | 167.708