## Slide 1: Rapid detection of intact SARS-CoV-2 viral particles using silicon nanomembranes
Michael Klaczko
University of Rochester
McGrath Lab

## Slide 2: Current Testing Capabilities
Serological Testing
Diagnostic Testing
https://www.fishersci.be/shop/products/veriti-thermal-cycler-extended-warranty-package-384-well-3/12353653
https://adipogen.com/covid-19/

## Slide 3: Need for Rapid Testing
https://www.mckinsey.com/industries/pharmaceuticals-and-medical-products/our-insights/covid-19-overcoming-supply-shortages-for-diagnostic-testing#
https://asm.org/Press-Releases/2020/October/Shortages-of-COVID-19-and-Other-Testing-Supplies-I
https://cen.acs.org/analytical-chemistry/diagnostics/Rapid-COVID-19-testing-breaks/98/web/2020/08
https://www.nbcnews.com/news/us-news/covid-testing-only-getting-harder-come-s-serious-problem-n1249956

## Slide 4: Current POC Testing Capabilities
Serological Testing
Diagnostic Testing
https://www.cardinalhealth.com/en/cmp/ext/med/med-lab/cellex-covid-19-igm-igg-rapid-test.html
https://fusion.inquirer.com/news/coronavirus-antibody-testing-expanding-with-questions-roche-abbott-20200509.html
https://www.abbott.com/corpnewsroom/diagnostics-testing/upping-the-ante-on-COVID-19-antigen-testing.html
https://www.the-scientist.com/news-opinion/toward-covid-19-testing-any-time-anywhere-67906

## Slide 5: Silicon Nanomembranes
Free Standing w/ thickness between 50 nm and 400 nm
Pores between 15 nm and 10 µm
Pore size
Thickness
≥ 1
High hydraulic and diffusive permeability.
Sharp separations.
Biocompatible.
Scalable membrane and device manufacturing.
Optically and electronically transparent.
Striemer et al. (2007) Nature 445:749-753
Nanomembrane Research Group (NRG) est. 2007. Now > 50 publications.
*Art is from A. van den Berg and M. Wessling, Nature 445, p. 726

## Slide 6: Nanomembranes Devices
Transwell™ mimetic
microfluidics
5.4 mm
layer-by-layer
assembly
5.4 mm
trench
flat side
nanomembrane
‘chips’
Silicon
frame
700 um x 3 mm
membrane
‘windows’

## Slide 7: In Situ Diagnostics?
Capture
Clean
Detect

## Slide 8: ALine Microfluidic Devices

## Slide 9: SIM-DX Design
0

## Slide 10
SIM-DX Sensor Function – The Resistance Switch
Positive
Negative
Sample Injection

## Slide 11
Sample Pre-mixing
Surface Coat with KodeTM Biotin
Pre-mix with Streptavidin Conjugated Antibody
+ Antibody
Kode Biotin
Membrane

## Slide 12: Surface Modification using KODE™
http://www.kodebiotech.com/
R
R
R
R
One step dip coating
Optimization can lead to precise control over thickness
Stabile wet and dry, can withstand flow

## Slide 13
Surface coating
Pre-labelled Target Capture
Pre-Mixture
Large component
Small component a
Streptavidin conjugated antibody bound small component b

## Slide 14
Slit Pore Occlusion Analysis

## Slide 15
Control of the Resistance Switch
Increasing height = Increasing resistance

## Slide 16: Sensor Function Controls
PBS
500 nm Beads
200 nm Beads
Negative switch
Positive Switch
Positive Switch
All tests with beads use 10^5 beads/mL

## Slide 17: Imaging Beads
500 nm Beads
200 nm Beads
10X
10X
60X
60X

## Slide 18: Sensor Test with Antibody Controls
Vaccinia with Vaccinia Antibody
Vaccinia
Positive switch
Negative Partial Switch
Negative Partial Switch
Vaccinia with Rabbit Antibody
All tests use 10^5 virus/mL

## Slide 19: Imaging Vaccinia

## Slide 20: SIM-DX Performance

## Slide 21: Particle Counting Experiments
Parameters
  Object:
  30 Nanomembrane Slits: Each slit is 50 µm x 0.5 µm, and the peak-to-peak distance is 2 µm
  A uniform number of particles per slit are ‘randomly’ released
  Particle Dimensions: 100 nm - 200 nm - 300 nm
  Particle Excitation and Emission Wavelengths: 588 nm and 633 nm
  High Microscope Objective:
  1.4 NA / 100X
  Camera Resolution:
  600 x 600 with a pixel pitch of 10 µm
  Microscopes:
  Widefield: Spatial Resolution is ~226 nm
  Confocal: Spatial Resolution is ~199 nm
  STED: Spatial Resolution is ~50 nm
      *Please note that spatial resolution is ‘artificially’ increased by changing the PSF parameters.

## Slide 22: Simulating Particle Counting
Wide-field image
Cropped area
Wide-field counting
Confocal counting
STED counting

## Slide 23: Particle Counting Analysis
STED
Confocal
Wide-field
1.1E6 Particle Limit
1.4E6 Particle Limit
1.6E6 Particle Limit
Max Countable Concentration= 10^8 particle/mL solutions

## Slide 24
Acknowledgements
Mcgrath Lab
Professor James McGrath
Dr. Jonathan Flax
Baturay Ozgurun, PhD
Kilean Lucas, PhD
Alec Salminen, MS
Samuel Walker, MS
Danial Ahmad, MS
William Houlihan, PhD
Raquel Murillo, MS
Molly McCloskey, MS
Ward Lab
Professor Brian Ward
Funding Support from
NSF RAPID 2028537